## Cost model
| Nuclear EPR, must-run | Nuclear EPR, merit order | Solar, lifetime 40 | Solar, lifetime 25 | Wind, on-shore | Wind-off-shore
LCOE | 91.926 | 199.9517 | 22.3068 | 26.8494 | 22.7568 | 23.2296
LCOE with CO2 tax | 95.318 | 203.3437 | 23.5201 | 28.3674 | 23.7903 | 24.2639
LCOE with system costs | 91.926 | 199.9517 | 22.3068 | 26.8494 | 22.7568 | 23.2296
LCOE with system costs and CO2 tax | 95.318 | 203.3437 | 23.5201 | 28.3674 | 23.7903 | 24.2639
LCOE with systems cost and flexibility (work in progress) | [8 empty] | 0
LCOE with systems cost, flexibility and CO2 tax (work in progress)
Nuclear EPR, must-run
| Construction | [6 empty] | Operation
Year t | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
Construction cost (€) | 1173761828.5714 | 1173761828.5714 | 1173761828.5714 | 1173761828.5714 | 1173761828.5714 | 1173761828.5714 | 1173761828.5714
Instalment (€) | [7 empty] | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880
Financing cost (€) | 82163328 | 164326656 | 246489984 | 328653312 | 410816640 | 492979968 | 575143296 | 575143296 | 565557574.4 | 555971852.8 | 546386131.2 | 536800409.6 | 527214688 | 517628966.4 | 508043244.8 | 498457523.2 | 488871801.6 | 479286080 | 469700358.4 | 460114636.8 | 450528915.2 | 440943193.6 | 431357472 | 421771750.4 | 412186028.8 | 402600307.2 | 393014585.6 | 383428864 | 373843142.4 | 364257420.8 | 354671699.2 | 345085977.6 | 335500256 | 325914534.4 | 316328812.8 | 306743091.2 | 297157369.6 | 287571648 | 277985926.4 | 268400204.8 | 258814483.2 | 249228761.6 | 239643040 | 230057318.4 | 220471596.8 | 210885875.2 | 201300153.6 | 191714432 | 182128710.4 | 172542988.8 | 162957267.2 | 153371545.6 | 143785824 | 134200102.4 | 124614380.8 | 115028659.2 | 105442937.6 | 95857216 | 86271494.4 | 76685772.8 | 67100051.2 | 57514329.6 | 47928608 | 38342886.4 | 28757164.8 | 19171443.2 | 9585721.6
O&M fixed in year t (€) | [7 empty] | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000
O&M variable in year t (€) | [7 empty] | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120 | 92745120
Fuel expenditure in year t (€) | [7 empty] | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736 | 78268736
System costs (€) | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost of waste processing and storage (€) | [7 empty] | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776 | 25879776
Decommissioning (€) | [7 empty] | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832
CO2 tax cost for electricity during construction (€) | 104515361.9091 | 104515361.9091 | 104515361.9091 | 104515361.9091 | 104515361.9091 | 104515361.9091 | 104515361.9091
Lifecycle CO2 emission cost (€) | 64182857.1429 | 64182857.1429 | 64182857.1429 | 64182857.1429 | 64182857.1429 | 64182857.1429 | 64182857.1429
Electrical energy generated in year t (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000 | 12480000
WACC | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07
Discount rate | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07
Expected lifetime of system (years) | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Sum of discounted costs excluding system costs and including CO2 tax in year t (€) | 234999993.2557 | 342931162.0597 | 435734731.0264 | 514928083.0961 | 581894808.9784 | 637895718.5061 | 684078983.8629 | 1001791252.3364 | 927880966.3726 | 859353669.0549 | 795821369.0321 | 736923801.7939 | 682326462.4044 | 631718776.9687 | 584812403.0996 | 541339650.3314 | 501052012.0618 | 463718801.1886 | 429125882.1573 | 397074492.6438 | 367380148.5724 | 339871626.6059 | 314390018.6604 | 290787853.3735 | 268928279.8138 | 248684309.0472 | 229938109.483 | 212580352.2111 | 196509602.8027 | 181631756.2989 | 167859512.339 | 155111887.5942 | 143313762.8724 | 132395462.4445 | 122292363.3146 | 112944532.3161 | 104296389.0661 | 96296392.9474 | 88896752.4161 | 82053155.0556 | 75724516.9036 | 69872749.6882 | 64462544.7018 | 59461172.1319 | 54838294.7509 | 50565794.9473 | 46617614.1464 | 42969603.7436 | 39599386.728 | 36486229.2378 | 33610921.3389 | 30955666.3703 | 28503978.2458 | 26240586.1435 | 24151346.0575 | 22223158.721 | 20443893.4451 | 18802317.4527 | 17288030.3115 | 15891403.1042 | 14603521.9944 | 13416135.8755 | 12321607.8078 | 11312869.974 | 10383381.8993 | 9527091.7028 | 8738400.1613
Sum of discounted costs excluding system costs and CO2 tax in year t (€) | 131936350.1482 | 246610000.277 | 345714953.6594 | 430797450.0429 | 503268049.1155 | 564412765.3632 | 615403326.72 | 1001791252.3364 | 927880966.3726 | 859353669.0549 | 795821369.0321 | 736923801.7939 | 682326462.4044 | 631718776.9687 | 584812403.0996 | 541339650.3314 | 501052012.0618 | 463718801.1886 | 429125882.1573 | 397074492.6438 | 367380148.5724 | 339871626.6059 | 314390018.6604 | 290787853.3735 | 268928279.8138 | 248684309.0472 | 229938109.483 | 212580352.2111 | 196509602.8027 | 181631756.2989 | 167859512.339 | 155111887.5942 | 143313762.8724 | 132395462.4445 | 122292363.3146 | 112944532.3161 | 104296389.0661 | 96296392.9474 | 88896752.4161 | 82053155.0556 | 75724516.9036 | 69872749.6882 | 64462544.7018 | 59461172.1319 | 54838294.7509 | 50565794.9473 | 46617614.1464 | 42969603.7436 | 39599386.728 | 36486229.2378 | 33610921.3389 | 30955666.3703 | 28503978.2458 | 26240586.1435 | 24151346.0575 | 22223158.721 | 20443893.4451 | 18802317.4527 | 17288030.3115 | 15891403.1042 | 14603521.9944 | 13416135.8755 | 12321607.8078 | 11312869.974 | 10383381.8993 | 9527091.7028 | 8738400.1613
Sum of discounted costs including system costs and including CO2 tax in year t (€) | 234999993.2557 | 342931162.0597 | 435734731.0264 | 514928083.0961 | 581894808.9784 | 637895718.5061 | 684078983.8629 | 1001791252.3364 | 927880966.3726 | 859353669.0549 | 795821369.0321 | 736923801.7939 | 682326462.4044 | 631718776.9687 | 584812403.0996 | 541339650.3314 | 501052012.0618 | 463718801.1886 | 429125882.1573 | 397074492.6438 | 367380148.5724 | 339871626.6059 | 314390018.6604 | 290787853.3735 | 268928279.8138 | 248684309.0472 | 229938109.483 | 212580352.2111 | 196509602.8027 | 181631756.2989 | 167859512.339 | 155111887.5942 | 143313762.8724 | 132395462.4445 | 122292363.3146 | 112944532.3161 | 104296389.0661 | 96296392.9474 | 88896752.4161 | 82053155.0556 | 75724516.9036 | 69872749.6882 | 64462544.7018 | 59461172.1319 | 54838294.7509 | 50565794.9473 | 46617614.1464 | 42969603.7436 | 39599386.728 | 36486229.2378 | 33610921.3389 | 30955666.3703 | 28503978.2458 | 26240586.1435 | 24151346.0575 | 22223158.721 | 20443893.4451 | 18802317.4527 | 17288030.3115 | 15891403.1042 | 14603521.9944 | 13416135.8755 | 12321607.8078 | 11312869.974 | 10383381.8993 | 9527091.7028 | 8738400.1613
Sum of discounted costs including system costs and excluding CO2 tax in year t (€) | 131936350.1482 | 246610000.277 | 345714953.6594 | 430797450.0429 | 503268049.1155 | 564412765.3632 | 615403326.72 | 1001791252.3364 | 927880966.3726 | 859353669.0549 | 795821369.0321 | 736923801.7939 | 682326462.4044 | 631718776.9687 | 584812403.0996 | 541339650.3314 | 501052012.0618 | 463718801.1886 | 429125882.1573 | 397074492.6438 | 367380148.5724 | 339871626.6059 | 314390018.6604 | 290787853.3735 | 268928279.8138 | 248684309.0472 | 229938109.483 | 212580352.2111 | 196509602.8027 | 181631756.2989 | 167859512.339 | 155111887.5942 | 143313762.8724 | 132395462.4445 | 122292363.3146 | 112944532.3161 | 104296389.0661 | 96296392.9474 | 88896752.4161 | 82053155.0556 | 75724516.9036 | 69872749.6882 | 64462544.7018 | 59461172.1319 | 54838294.7509 | 50565794.9473 | 46617614.1464 | 42969603.7436 | 39599386.728 | 36486229.2378 | 33610921.3389 | 30955666.3703 | 28503978.2458 | 26240586.1435 | 24151346.0575 | 22223158.721 | 20443893.4451 | 18802317.4527 | 17288030.3115 | 15891403.1042 | 14603521.9944 | 13416135.8755 | 12321607.8078 | 11312869.974 | 10383381.8993 | 9527091.7028 | 8738400.1613
Sum of discounted electrical energy produced in year t (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11663551.4019 | 10900515.3288 | 10187397.5036 | 9520932.2464 | 8898067.52 | 8315950.9532 | 7771916.7787 | 7263473.625 | 6788293.1075 | 6344199.1658 | 5929158.0989 | 5541269.2513 | 5178756.3096 | 4839959.1679 | 4523326.3251 | 4227407.7805 | 3950848.393 | 3692381.6757 | 3450823.996 | 3225069.1551 | 3014083.3225 | 2816900.3014 | 2632617.1041 | 2460389.817 | 2299429.7355 | 2148999.7528 | 2008410.9839 | 1877019.6111 | 1754223.9356 | 1639461.6221 | 1532207.1234 | 1431969.2743 | 1338289.0414 | 1250737.4218 | 1168913.4783 | 1092442.5031 | 1020974.302 | 954181.5906 | 891758.4959 | 833419.1551 | 778896.4066 | 727940.5669 | 680318.2868 | 635811.483 | 594216.3393 | 555342.3732 | 519011.5637 | 485057.5362 | 453324.8002 | 423668.0375 | 395951.4369 | 370048.0719 | 345839.3195 | 323214.3173 | 302069.4554 | 282307.9023 | 263839.161 | 246578.6552 | 230447.3413 | 215371.347
Nuclear EPR, merit order
| Construction | [6 empty] | Operation
Year t | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
Construction cost (€) | 1173761828.5714 | 1173761828.5714 | 1173761828.5714 | 1173761828.5714 | 1173761828.5714 | 1173761828.5714 | 1173761828.5714
Instalment (€) | [7 empty] | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880 | 136938880
Financing cost (€) | 82163328 | 164326656 | 246489984 | 328653312 | 410816640 | 492979968 | 575143296 | 575143296 | 565557574.4 | 555971852.8 | 546386131.2 | 536800409.6 | 527214688 | 517628966.4 | 508043244.8 | 498457523.2 | 488871801.6 | 479286080 | 469700358.4 | 460114636.8 | 450528915.2 | 440943193.6 | 431357472 | 421771750.4 | 412186028.8 | 402600307.2 | 393014585.6 | 383428864 | 373843142.4 | 364257420.8 | 354671699.2 | 345085977.6 | 335500256 | 325914534.4 | 316328812.8 | 306743091.2 | 297157369.6 | 287571648 | 277985926.4 | 268400204.8 | 258814483.2 | 249228761.6 | 239643040 | 230057318.4 | 220471596.8 | 210885875.2 | 201300153.6 | 191714432 | 182128710.4 | 172542988.8 | 162957267.2 | 153371545.6 | 143785824 | 134200102.4 | 124614380.8 | 115028659.2 | 105442937.6 | 95857216 | 86271494.4 | 76685772.8 | 67100051.2 | 57514329.6 | 47928608 | 38342886.4 | 28757164.8 | 19171443.2 | 9585721.6
O&M fixed in year t (€) | [7 empty] | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000 | 142400000
O&M variable in year t (€) | [7 empty] | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540 | 38346540
Fuel expenditure in year t (€) | [7 empty] | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112 | 32361112
System costs (€) | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost of waste processing and storage (€) | [7 empty] | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292 | 10700292
Decommissioning (€) | [7 empty] | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832 | 20540832
CO2 tax cost for electricity during construction (€) | 43213082.3278 | 43213082.3278 | 43213082.3278 | 43213082.3278 | 43213082.3278 | 43213082.3278 | 43213082.3278
Lifecycle CO2 emission cost (€) | 26537142.8571 | 26537142.8571 | 26537142.8571 | 26537142.8571 | 26537142.8571 | 26537142.8571 | 26537142.8571
Electrical energy generated in year t (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000 | 5160000
WACC | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07
Discount rate | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07
Expected lifetime of system (years) | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Sum of discounted costs excluding system costs and including CO2 tax in year t (€) | 174549202.5869 | 286435096.0141 | 382934669.3015 | 465582231.0168 | 535777190.2127 | 594795140.2203 | 643798069.5771 | 893860702.8037 | 827011293.9121 | 765082947.1292 | 707717890.5969 | 654584102.3217 | 605373472.2435 | 559800094.5754 | 517598681.2366 | 478523087.8426 | 442344944.3153 | 408852382.734 | 377848855.5641 | 349152037.8839 | 322592807.6753 | 298014298.6647 | 275271020.5844 | 254228042.0876 | 234760231.8831 | 216751553.9717 | 200094413.1508 | 184689047.2277 | 170442962.6313 | 157270410.3443 | 145091899.2974 | 133833744.5646 | 123427647.8915 | 113810308.2567 | 104923060.3353 | 96711538.8775 | 89125367.1609 | 82117867.8023 | 75645794.3367 | 69669082.0842 | 64150616.9302 | 59056020.7411 | 54353452.228 | 50013422.1563 | 46008621.8766 | 42313764.2236 | 38905435.9 | 35761960.5226 | 32863271.5682 | 30190794.509 | 27727337.4802 | 25456989.8669 | 23365028.2426 | 21437829.1311 | 19662788.1021 | 18028244.7439 | 16523413.0927 | 15138317.1234 | 13863730.9383 | 12691123.3161 | 11612606.3047 | 10620887.5673 | 9709226.2114 | 8871391.8465 | 8101626.64 | 7394610.152 | 6745426.7494
Sum of discounted costs excluding system costs and CO2 tax in year t (€) | 131936350.1482 | 246610000.277 | 345714953.6594 | 430797450.0429 | 503268049.1155 | 564412765.3632 | 615403326.72 | 893860702.8037 | 827011293.9121 | 765082947.1292 | 707717890.5969 | 654584102.3217 | 605373472.2435 | 559800094.5754 | 517598681.2366 | 478523087.8426 | 442344944.3153 | 408852382.734 | 377848855.5641 | 349152037.8839 | 322592807.6753 | 298014298.6647 | 275271020.5844 | 254228042.0876 | 234760231.8831 | 216751553.9717 | 200094413.1508 | 184689047.2277 | 170442962.6313 | 157270410.3443 | 145091899.2974 | 133833744.5646 | 123427647.8915 | 113810308.2567 | 104923060.3353 | 96711538.8775 | 89125367.1609 | 82117867.8023 | 75645794.3367 | 69669082.0842 | 64150616.9302 | 59056020.7411 | 54353452.228 | 50013422.1563 | 46008621.8766 | 42313764.2236 | 38905435.9 | 35761960.5226 | 32863271.5682 | 30190794.509 | 27727337.4802 | 25456989.8669 | 23365028.2426 | 21437829.1311 | 19662788.1021 | 18028244.7439 | 16523413.0927 | 15138317.1234 | 13863730.9383 | 12691123.3161 | 11612606.3047 | 10620887.5673 | 9709226.2114 | 8871391.8465 | 8101626.64 | 7394610.152 | 6745426.7494
Sum of discounted costs including system costs and including CO2 tax in year t (€) | 174549202.5869 | 286435096.0141 | 382934669.3015 | 465582231.0168 | 535777190.2127 | 594795140.2203 | 643798069.5771 | 893860702.8037 | 827011293.9121 | 765082947.1292 | 707717890.5969 | 654584102.3217 | 605373472.2435 | 559800094.5754 | 517598681.2366 | 478523087.8426 | 442344944.3153 | 408852382.734 | 377848855.5641 | 349152037.8839 | 322592807.6753 | 298014298.6647 | 275271020.5844 | 254228042.0876 | 234760231.8831 | 216751553.9717 | 200094413.1508 | 184689047.2277 | 170442962.6313 | 157270410.3443 | 145091899.2974 | 133833744.5646 | 123427647.8915 | 113810308.2567 | 104923060.3353 | 96711538.8775 | 89125367.1609 | 82117867.8023 | 75645794.3367 | 69669082.0842 | 64150616.9302 | 59056020.7411 | 54353452.228 | 50013422.1563 | 46008621.8766 | 42313764.2236 | 38905435.9 | 35761960.5226 | 32863271.5682 | 30190794.509 | 27727337.4802 | 25456989.8669 | 23365028.2426 | 21437829.1311 | 19662788.1021 | 18028244.7439 | 16523413.0927 | 15138317.1234 | 13863730.9383 | 12691123.3161 | 11612606.3047 | 10620887.5673 | 9709226.2114 | 8871391.8465 | 8101626.64 | 7394610.152 | 6745426.7494
Sum of discounted costs including system costs and excluding CO2 tax in year t (€) | 131936350.1482 | 246610000.277 | 345714953.6594 | 430797450.0429 | 503268049.1155 | 564412765.3632 | 615403326.72 | 893860702.8037 | 827011293.9121 | 765082947.1292 | 707717890.5969 | 654584102.3217 | 605373472.2435 | 559800094.5754 | 517598681.2366 | 478523087.8426 | 442344944.3153 | 408852382.734 | 377848855.5641 | 349152037.8839 | 322592807.6753 | 298014298.6647 | 275271020.5844 | 254228042.0876 | 234760231.8831 | 216751553.9717 | 200094413.1508 | 184689047.2277 | 170442962.6313 | 157270410.3443 | 145091899.2974 | 133833744.5646 | 123427647.8915 | 113810308.2567 | 104923060.3353 | 96711538.8775 | 89125367.1609 | 82117867.8023 | 75645794.3367 | 69669082.0842 | 64150616.9302 | 59056020.7411 | 54353452.228 | 50013422.1563 | 46008621.8766 | 42313764.2236 | 38905435.9 | 35761960.5226 | 32863271.5682 | 30190794.509 | 27727337.4802 | 25456989.8669 | 23365028.2426 | 21437829.1311 | 19662788.1021 | 18028244.7439 | 16523413.0927 | 15138317.1234 | 13863730.9383 | 12691123.3161 | 11612606.3047 | 10620887.5673 | 9709226.2114 | 8871391.8465 | 8101626.64 | 7394610.152 | 6745426.7494
Sum of discounted electrical energy produced in year t (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4822429.9065 | 4506943.8379 | 4212097.0448 | 3936539.2942 | 3679008.6861 | 3438325.8749 | 3213388.6681 | 3003166.9796 | 2806698.1117 | 2623082.3474 | 2451478.8294 | 2291101.7097 | 2141216.5511 | 2001136.9636 | 1870221.4614 | 1747870.5246 | 1633523.8548 | 1526657.8082 | 1426782.9983 | 1333442.0545 | 1246207.5276 | 1164679.9323 | 1088485.9181 | 1017276.5589 | 950725.756 | 888528.7439 | 830400.6953 | 776075.4161 | 725304.1272 | 677854.3245 | 633508.7145 | 592064.2192 | 553331.0459 | 517131.8186 | 483300.7651 | 451682.958 | 422133.6056 | 394517.3884 | 368707.8397 | 344586.766 | 322043.7066 | 300975.4267 | 281285.4455 | 262883.5939 | 245685.6018 | 229612.712 | 214591.3196 | 200552.6351 | 187432.3693 | 175170.4386 | 163710.6903 | 153000.6451 | 142991.2571 | 133636.6889 | 124894.1018 | 116723.4596 | 109087.3454 | 101950.7901 | 95281.1123 | 89047.7685
Solar, lifetime 40
| Construction | Operation
Year t | -0.5 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
Construction cost (€) | 5560000
Instalment (€) |  | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000 | 139000
Financing cost (€/MW) | 119540 | 239080 | 233103 | 227126 | 221149 | 215172 | 209195 | 203218 | 197241 | 191264 | 185287 | 179310 | 173333 | 167356 | 161379 | 155402 | 149425 | 143448 | 137471 | 131494 | 125517 | 119540 | 113563 | 107586 | 101609 | 95632 | 89655 | 83678 | 77701 | 71724 | 65747 | 59770 | 53793 | 47816 | 41839 | 35862 | 29885 | 23908 | 17931 | 11954 | 5977
O&M fixed in year t (€) |  | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400
O&M variable in year t (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel expenditure in year t (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System costs (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost of waste processing and storage (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Decommissioning (€) |  | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950 | 6950
CO2 tax cost for electricity during construction (€) | 73277.9981
Lifecycle CO2 emission cost (€) | 393750
Electrical energy generated in year t (MWh) | 0 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500
WACC | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043
Discount rate | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043
Expected lifetime of system (years) | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
Sum of discounted costs excluding system costs and including CO2 tax in year t (€) | 524209.5849 | 449117.9291 | 425107.7126 | 402313.8867 | 380676.9645 | 360140.2963 | 340649.9372 | 322154.5204 | 304605.1356 | 287955.2149 | 272160.4218 | 257178.5468 | 242969.4073 | 229494.7524 | 216718.1715 | 204605.0081 | 193122.2764 | 182238.5833 | 171924.0522 | 162150.2521 | 152890.1288 | 144117.9397 | 135809.1917 | 127940.582 | 120489.9415 | 113436.1809 | 106759.2394 | 100440.0358 | 94460.4217 | 88803.1371 | 83451.7679 | 78390.7057 | 73605.1089 | 69080.8665 | 64804.5625 | 60763.4432 | 56945.3849 | 53338.8639 | 49932.9274 | 46717.1663 | 43681.6889
Sum of discounted costs excluding system costs and CO2 tax in year t (€) | 122083.0598 | 449117.9291 | 425107.7126 | 402313.8867 | 380676.9645 | 360140.2963 | 340649.9372 | 322154.5204 | 304605.1356 | 287955.2149 | 272160.4218 | 257178.5468 | 242969.4073 | 229494.7524 | 216718.1715 | 204605.0081 | 193122.2764 | 182238.5833 | 171924.0522 | 162150.2521 | 152890.1288 | 144117.9397 | 135809.1917 | 127940.582 | 120489.9415 | 113436.1809 | 106759.2394 | 100440.0358 | 94460.4217 | 88803.1371 | 83451.7679 | 78390.7057 | 73605.1089 | 69080.8665 | 64804.5625 | 60763.4432 | 56945.3849 | 53338.8639 | 49932.9274 | 46717.1663 | 43681.6889
Sum of discounted costs including system costs and including CO2 tax in year t (€) | 524209.5849 | 449117.9291 | 425107.7126 | 402313.8867 | 380676.9645 | 360140.2963 | 340649.9372 | 322154.5204 | 304605.1356 | 287955.2149 | 272160.4218 | 257178.5468 | 242969.4073 | 229494.7524 | 216718.1715 | 204605.0081 | 193122.2764 | 182238.5833 | 171924.0522 | 162150.2521 | 152890.1288 | 144117.9397 | 135809.1917 | 127940.582 | 120489.9415 | 113436.1809 | 106759.2394 | 100440.0358 | 94460.4217 | 88803.1371 | 83451.7679 | 78390.7057 | 73605.1089 | 69080.8665 | 64804.5625 | 60763.4432 | 56945.3849 | 53338.8639 | 49932.9274 | 46717.1663 | 43681.6889
Sum of discounted costs including system costs and excluding CO2 tax in year t (€) | 122083.0598 | 449117.9291 | 425107.7126 | 402313.8867 | 380676.9645 | 360140.2963 | 340649.9372 | 322154.5204 | 304605.1356 | 287955.2149 | 272160.4218 | 257178.5468 | 242969.4073 | 229494.7524 | 216718.1715 | 204605.0081 | 193122.2764 | 182238.5833 | 171924.0522 | 162150.2521 | 152890.1288 | 144117.9397 | 135809.1917 | 127940.582 | 120489.9415 | 113436.1809 | 106759.2394 | 100440.0358 | 94460.4217 | 88803.1371 | 83451.7679 | 78390.7057 | 73605.1089 | 69080.8665 | 64804.5625 | 60763.4432 | 56945.3849 | 53338.8639 | 49932.9274 | 46717.1663 | 43681.6889
Sum of discounted electrical energy produced in year t (MWh) | 0 | 16778.5235 | 16086.7915 | 15423.5776 | 14787.7063 | 14178.0501 | 13593.5284 | 13033.1049 | 12495.7861 | 11980.6194 | 11486.6917 | 11013.1272 | 10559.0865 | 10123.7646 | 9706.3899 | 9306.2223 | 8922.5525 | 8554.7004 | 8202.0138 | 7863.8675 | 7539.6621 | 7228.8227 | 6930.7983 | 6645.0607 | 6371.1033 | 6108.4404 | 5856.6063 | 5615.1546 | 5383.6574 | 5161.7041 | 4948.9013 | 4744.8719 | 4549.2539 | 4361.7008 | 4181.88 | 4009.4726 | 3844.1732 | 3685.6886 | 3533.7379 | 3388.0516 | 3248.3717
Solar, lifetime 25
| Construction | Operation
Year t | -0.5 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Construction cost (€) | 5560000
Instalment (€) |  | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400 | 222400
Financing cost (€) | 119540 | 239080 | 229516.8 | 219953.6 | 210390.4 | 200827.2 | 191264 | 181700.8 | 172137.6 | 162574.4 | 153011.2 | 143448 | 133884.8 | 124321.6 | 114758.4 | 105195.2 | 95632 | 86068.8 | 76505.6 | 66942.4 | 57379.2 | 47816 | 38252.8 | 28689.6 | 19126.4 | 9563.2
O&M fixed in year t (€) |  | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400 | 83400
O&M variable in year t (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel expenditure in year t (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System costs (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost of waste processing and storage (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Decommissioning (€) |  | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120 | 11120
CO2 tax cost for electricity during construction (€) | 73277.9981
Lifecycle CO2 emission cost (€) | 393750
Electrical energy generated in year t (MWh) | 0 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500 | 17500
WACC | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043
Discount rate | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043
Expected lifetime of system (years) | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Sum of discounted costs excluding system costs and including CO2 tax in year t (€) | 524209.5849 | 533077.6606 | 502309.4198 | 473172.0938 | 445583.5028 | 419465.4708 | 394743.6357 | 371347.2672 | 349209.0939 | 328265.1386 | 308454.5605 | 289719.5058 | 272004.9644 | 255258.6342 | 239430.791 | 224474.1649 | 210343.8226 | 196997.0547 | 184393.2692 | 172493.8892 | 161262.2557 | 150663.5353 | 140664.6318 | 131234.1019 | 122342.0758 | 113960.1803
Sum of discounted costs excluding system costs and CO2 tax in year t (€) | 122083.0598 | 533077.6606 | 502309.4198 | 473172.0938 | 445583.5028 | 419465.4708 | 394743.6357 | 371347.2672 | 349209.0939 | 328265.1386 | 308454.5605 | 289719.5058 | 272004.9644 | 255258.6342 | 239430.791 | 224474.1649 | 210343.8226 | 196997.0547 | 184393.2692 | 172493.8892 | 161262.2557 | 150663.5353 | 140664.6318 | 131234.1019 | 122342.0758 | 113960.1803
Sum of discounted costs including system costs and including CO2 tax in year t (€) | 524209.5849 | 533077.6606 | 502309.4198 | 473172.0938 | 445583.5028 | 419465.4708 | 394743.6357 | 371347.2672 | 349209.0939 | 328265.1386 | 308454.5605 | 289719.5058 | 272004.9644 | 255258.6342 | 239430.791 | 224474.1649 | 210343.8226 | 196997.0547 | 184393.2692 | 172493.8892 | 161262.2557 | 150663.5353 | 140664.6318 | 131234.1019 | 122342.0758 | 113960.1803
Sum of discounted costs including system costs and excluding CO2 tax in year t (€) | 122083.0598 | 533077.6606 | 502309.4198 | 473172.0938 | 445583.5028 | 419465.4708 | 394743.6357 | 371347.2672 | 349209.0939 | 328265.1386 | 308454.5605 | 289719.5058 | 272004.9644 | 255258.6342 | 239430.791 | 224474.1649 | 210343.8226 | 196997.0547 | 184393.2692 | 172493.8892 | 161262.2557 | 150663.5353 | 140664.6318 | 131234.1019 | 122342.0758 | 113960.1803
Sum of discounted electrical energy produced in year t (MWh) | 0 | 16778.5235 | 16086.7915 | 15423.5776 | 14787.7063 | 14178.0501 | 13593.5284 | 13033.1049 | 12495.7861 | 11980.6194 | 11486.6917 | 11013.1272 | 10559.0865 | 10123.7646 | 9706.3899 | 9306.2223 | 8922.5525 | 8554.7004 | 8202.0138 | 7863.8675 | 7539.6621 | 7228.8227 | 6930.7983 | 6645.0607 | 6371.1033 | 6108.4404
Wind on-shore
| Construction | Operation
Year t | -1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Construction cost (€) | 2133000 | [24 empty] | 85320
Instalment (€) |  | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320 | 85320
Financing cost (€) | 91719 | 91719 | 88050.24 | 84381.48 | 80712.72 | 77043.96 | 73375.2 | 69706.44 | 66037.68 | 62368.92 | 58700.16 | 55031.4 | 51362.64 | 47693.88 | 44025.12 | 40356.36 | 36687.6 | 33018.84 | 29350.08 | 25681.32 | 22012.56 | 18343.8 | 14675.04 | 11006.28 | 7337.52 | 3668.76
O&M fixed in year t (€) |  | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325 | 53325
O&M variable in year t (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel expenditure in year t (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System costs (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost of waste processing and storage (€) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Decommissioning (€) |  | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266 | 4266
CO2 tax cost for electricity during construction (€) | 75371.6552
Lifecycle CO2 emission cost (€) | 135000
Electrical energy generated in year t (MWh) |  | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000
WACC | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043
Discount rate | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043
Expected lifetime of system (years) |  | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Sum of discounted costs excluding system costs and including CO2 tax in year t (€) | 236467.917 | 224956.8552 | 212310.0173 | 200323.6119 | 188964.679 | 178201.8538 | 168005.2913 | 158346.5938 | 149198.7431 | 140536.0342 | 132334.0135 | 124569.419 | 117220.1239 | 110265.0823 | 103684.2777 | 97458.6738 | 91570.1682 | 86001.5472 | 80736.4434 | 75759.2954 | 71055.309 | 66610.4203 | 62411.2609 | 58445.1242 | 54699.9338 | 51164.2127
Sum of discounted costs excluding system costs and CO2 tax in year t (€) | 95662.917 | 224956.8552 | 212310.0173 | 200323.6119 | 188964.679 | 178201.8538 | 168005.2913 | 158346.5938 | 149198.7431 | 140536.0342 | 132334.0135 | 124569.419 | 117220.1239 | 110265.0823 | 103684.2777 | 97458.6738 | 91570.1682 | 86001.5472 | 80736.4434 | 75759.2954 | 71055.309 | 66610.4203 | 62411.2609 | 58445.1242 | 54699.9338 | 51164.2127
Sum of discounted costs including system costs and including CO2 tax in year t (€) | 236467.917 | 224956.8552 | 212310.0173 | 200323.6119 | 188964.679 | 178201.8538 | 168005.2913 | 158346.5938 | 149198.7431 | 140536.0342 | 132334.0135 | 124569.419 | 117220.1239 | 110265.0823 | 103684.2777 | 97458.6738 | 91570.1682 | 86001.5472 | 80736.4434 | 75759.2954 | 71055.309 | 66610.4203 | 62411.2609 | 58445.1242 | 54699.9338 | 51164.2127
Sum of discounted costs including system costs and excluding CO2 tax in year t (€) | 95662.917 | 224956.8552 | 212310.0173 | 200323.6119 | 188964.679 | 178201.8538 | 168005.2913 | 158346.5938 | 149198.7431 | 140536.0342 | 132334.0135 | 124569.419 | 117220.1239 | 110265.0823 | 103684.2777 | 97458.6738 | 91570.1682 | 86001.5472 | 80736.4434 | 75759.2954 | 71055.309 | 66610.4203 | 62411.2609 | 58445.1242 | 54699.9338 | 51164.2127
Sum of discounted electrical energy produced in year t (MWh) | 0 | 8628.9549 | 8273.207 | 7932.1256 | 7605.1061 | 7291.5686 | 6990.9575 | 6702.7396 | 6426.4043 | 6161.4614 | 5907.4414 | 5663.894 | 5430.3873 | 5206.5075 | 4991.8576 | 4786.0572 | 4588.7413 | 4399.5602 | 4218.1785 | 4044.2747 | 3877.5405 | 3717.6802 | 3564.4106 | 3417.4598 | 3276.5674 | 3141.4836
Wind off-shore
| Construction |  | Operation
Year t | -1.5 | -1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Construction cost (€) | 1000000 | 2000000
Instalment (€) |  |  | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000 | 120000
Financing cost (€) | 64500 | 129000 | 129000 | 123840 | 118680 | 113520 | 108360 | 103200 | 98040 | 92880 | 87720 | 82560 | 77400 | 72240 | 67080 | 61920 | 56760 | 51600 | 46440 | 41280 | 36120 | 30960 | 25800 | 20640 | 15480 | 10320 | 5160
O&M fixed in year t (€) |  |  | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000 | 96000
O&M variable in year t (€) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel expenditure in year t (€) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System costs (€) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost of waste processing and storage (€) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Decommissioning (€) |  |  | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000
CO2 tax during construction (€) | 56528.7414 | 113057.4828
Lifecycle CO2 emission cost (€) | 87750 | 175500
Electrical energy generated in year t (MWh) |  |  | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500 | 13500
WACC | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043
Discount rate | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043
Expected lifetime of system (years) |  |  | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Sum of discounted costs excluding system costs and including CO2 tax in year t (€) | 162174.9467 | 252465.9546 | 336529.2426 | 317911.769 | 300257.3956 | 283518.3544 | 267649.1789 | 252606.5959 | 238349.4218 | 224838.4638 | 212036.4257 | 199907.8183 | 188418.8737 | 177537.4635 | 167233.0215 | 157476.469 | 148240.1444 | 139497.7357 | 131224.216 | 123395.7829 | 115989.7991 | 108984.7379 | 102360.1291 | 96096.5092 | 90175.3728 | 84579.1267 | 79291.0464
Sum of discounted costs excluding system costs and CO2 tax in year t (€) | 68704.6572 | 134547 | 336529.2426 | 317911.769 | 300257.3956 | 283518.3544 | 267649.1789 | 252606.5959 | 238349.4218 | 224838.4638 | 212036.4257 | 199907.8183 | 188418.8737 | 177537.4635 | 167233.0215 | 157476.469 | 148240.1444 | 139497.7357 | 131224.216 | 123395.7829 | 115989.7991 | 108984.7379 | 102360.1291 | 96096.5092 | 90175.3728 | 84579.1267 | 79291.0464
Sum of discounted costs including system costs and including CO2 tax in year t (€) | 162174.9467 | 252465.9546 | 336529.2426 | 317911.769 | 300257.3956 | 283518.3544 | 267649.1789 | 252606.5959 | 238349.4218 | 224838.4638 | 212036.4257 | 199907.8183 | 188418.8737 | 177537.4635 | 167233.0215 | 157476.469 | 148240.1444 | 139497.7357 | 131224.216 | 123395.7829 | 115989.7991 | 108984.7379 | 102360.1291 | 96096.5092 | 90175.3728 | 84579.1267 | 79291.0464
Sum of discounted costs including system costs and excluding CO2 tax in year t (€) | 68704.6572 | 134547 | 336529.2426 | 317911.769 | 300257.3956 | 283518.3544 | 267649.1789 | 252606.5959 | 238349.4218 | 224838.4638 | 212036.4257 | 199907.8183 | 188418.8737 | 177537.4635 | 167233.0215 | 157476.469 | 148240.1444 | 139497.7357 | 131224.216 | 123395.7829 | 115989.7991 | 108984.7379 | 102360.1291 | 96096.5092 | 90175.3728 | 84579.1267 | 79291.0464
Sum of discounted electrical energy produced in year t (MWh) | 0 | 0 | 12943.4324 | 12409.8106 | 11898.1884 | 11407.6591 | 10937.3529 | 10486.4362 | 10054.1095 | 9639.6064 | 9242.1921 | 8861.1622 | 8495.841 | 8145.581 | 7809.7613 | 7487.7865 | 7179.0858 | 6883.112 | 6599.3403 | 6327.2678 | 6066.4121 | 5816.3107 | 5576.5204 | 5346.6159 | 5126.1897 | 4914.8511 | 4712.2254
Note on B14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assume that financing is acquired on the first day of the year and the interest is payed on the last day of the year.
Note on I15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assume that the instalment is done on the last day of the year in order to simulate that the plant needs to generate revenue to pay off the instalment. Interest in t=1 is thus for the total construction cost, and interest is t=2 is the total construction cost minus the instalment payed back in t=1.
Note on A23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not discounted
Note on A48: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not discounted
Note on A73: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not discounted
Note on A98: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not discounted
Note on A123: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not discounted

## LCOH, LCOS
| Electrolyzer | Electrolyzer 8000 FLH | Electrolyzer, solar 40 | Electrolyzer, solar 25 | Electrolyzer, wind on-shore | Electrolyzer, wind off-shore | Salt cavern H2 storage
LCOH (€/MWh LHV H2) | 320.6474 | 140.7154 | 50.1832 | 57.0659 | 50.865 | 51.5813
LCOH (€/ton H2) | 10688.2472 | 4690.5132 | 1672.7722 | 1902.1968 | 1695.4984 | 1719.3757
LCOS (€/ton H2 stored) | [6 empty] | 2.3618
| Electrolyzer | Electrolyzer 8000 FLH | Electrolyzer, solar 40 | Electrolyzer, solar 25 | Electrolyzer, wind on-shore | Electrolyzer, wind off-shore | Storage in salt caverns
Assumptions
Electricity source | Nuclear EPR, merit order | Nuclear EPR, must-run | Solar, lifetime 40 | Solar, lifetime 25 | Wind, on-shore | Wind-off-shore | Wind, on-shore
Electricity price | 199.9517 | 86 |  |  |  |  | 22.7568
Share of the produced hydrogen stored | [6 empty] | 25%
Yearly H2 stored (tons) | [6 empty] | 114617250
Technical parameters
Electrical capacity per unit (MWe) | 4500 | 9000
Full load hours (h/year) | 4631 | 8000 | [7 empty] | 4500
Thermodynamic minimum (kWh/kg H2) | 39.41 | [8 empty] | 5500
Efficiency (Lower Heating Value) | 0.66
Energy requirements (MWh/ton H2) | [6 empty] | 0.1
Cost parameters
Equipment cost (€/MWe) | 120000
Installation cost (€/MWe) | 120000
Total installed cost (€/MWe) | 240000
WACC | 0.06 | [5 empty] | 0.06
Electricity cost (€/MWh) | 199.9517 | [5 empty] | 22.7568
Maintenance and operation cost, fixed (€/MWe) | 7200
Replacement cost stack (€/MW) | 73500
Decommissioning (€/Mwe/y) | 7200
Investment cost (€) | [6 empty] | 56713867.9478
Maintenance and operation cost, fixed (€/year) | [6 empty] | 850708.0192
Other parameters
Construction time per unit (years) | 2.5 | [5 empty] | 2
Technical lifetime (years) | 20 | [5 empty] | 30
Technical lifetime stack (years) | 10
LHV (MWh/ton H2) | 33.3333
HHV (MWh/ton H2) | 39.4
Capacity salt cavern (m3) | [6 empty] | 140000
H2 density (kg/m3) at 10 Mpa , temperature somewhere between 0 and 25 | [6 empty] | 8
Capacity salt cavern (ton H2) | [6 empty] | 1120000
139630.3901
LCOH/S calculation
Electrolyzers
| Construction |  |  | Operation
Year t, (operation) | -2.5 | -2 | -1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Total installed cost (€) | Construction -2.5: 216000000; Construction -2: 432000000; Construction -1: 432000000
Instalment (€) |  |  |  | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000 | 54000000
Financing cost (€) | 12960000 | 38880000 | 64800000 | 64800000 | 61560000 | 58320000 | 55080000 | 51840000 | 48600000 | 45360000 | 42120000 | 38880000 | 35640000 | 32400000 | 29160000 | 25920000 | 22680000 | 19440000 | 16200000 | 12960000 | 9720000 | 6480000 | 3240000
Electricity cost (€) |  |  |  | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805 | 4166892426.6805
O&M fixed in year t (€) |  |  |  | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000 | 32400000
Replacement cost (€) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Decommissioning (€) |  |  |  | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000 | 1620000
Hydrogen produced in year t (MWh LHV) |  |  |  | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070 | 13754070
WACC | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06
Expected lifetime of system (years) | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Sum of discounted costs in year t (€) | 264864820.9248 | 529080768 | 526608000 | 4075200402.5288 | 3841645093.1653 | 3621473117.6412 | 3413917689.7775 | 3218255949.3477 | 3033806446.1016 | 2859926767.8779 | 2696011304.5564 | 2541489140.0691 | 2395822065.1389 | 2258541422.7149 | 2129052747.4052 | 2007021289.3087 | 1891983255.544 | 1783537924.924 | 1681307534.0822 | 1584935962.3802 | 1494087492.1358 | 1408445639.8609 | 1327712054.4404
Sum of discounted hydrogen produced in year t (MWh) | 0 | 0 | 0 | 12975537.7358 | 12241073.3357 | 11548182.3922 | 10894511.6907 | 10277841.2177 | 9696076.6204 | 9147242.0948 | 8629473.6743 | 8141012.9003 | 7680200.8493 | 7245472.4994 | 6835351.4145 | 6448444.7307 | 6083438.4251 | 5739092.8539 | 5414238.5414 | 5107772.2089 | 4818653.0273 | 4545899.0823 | 4288584.0399
Salt cavern H2 storage
Year t, (operation) | -2 | -1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Investment cost (€) | -2: 28356933.9739; -1: 28356933.9739
Instalment (€) |  |  | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649 | 1890462.2649
Financing cost (€) | 1701416.0384 | 3402832.0769 | 3402832.0769 | 3289404.341 | 3175976.6051 | 3062548.8692 | 2949121.1333 | 2835693.3974 | 2722265.6615 | 2608837.9256 | 2495410.1897 | 2381982.4538 | 2268554.7179 | 2155126.982 | 2041699.2461 | 1928271.5102 | 1814843.7743 | 1701416.0384 | 1587988.3025 | 1474560.5666 | 1361132.8307 | 1247705.0949 | 1134277.359 | 1020849.6231 | 907421.8872 | 793994.1513 | 680566.4154 | 567138.6795 | 453710.9436 | 340283.2077 | 226855.4718 | 113427.7359
Electricity cost (€) |  |  | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842 | 260832312.7842
O&M fixed in year t (€) |  |  | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192 | 850708.0192
Hydrogen stored in year t (MWh LHV) |  |  | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250 | 114617250
WACC |  |  | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06
Expected lifetime of system (years) |  |  | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
Sum of discounted costs in year t (€) | 33773562.0739 | 33665352.0138 | 251864448.2502 | 237507019.7662 | 223967990.0803 | 211200711.2887 | 199161194.2432 | 187807957.0194 | 177101882.0202 | 167006081.2241 | 157485769.1126 | 148508142.8396 | 140042269.2305 | 132058978.2209 | 124530762.3691 | 117431682.0946 | 110737276.3185 | 104424478.1957 | 98471535.65 | 92857936.4385 | 87564337.4863 | 82572498.2489 | 77865217.8723 | 73426275.9349 | 69240376.5661 | 65293095.7505 | 61570831.6348 | 58060757.6676 | 54750778.4092 | 51629487.8603 | 48686130.1661 | 45910562.5596
Sum of discounted hydrogen stored in year t (MWh) | 0 | 0 | 108129481.1321 | 102008944.4642 | 96234853.2681 | 90787597.4228 | 85648676.8139 | 80800638.5037 | 76227017.4563 | 71912280.6192 | 67841774.169 | 64001673.7444 | 60378937.4947 | 56961261.7874 | 53737039.4221 | 50695320.2095 | 47825773.7826 | 45118654.5119 | 42564768.4074 | 40155441.8938 | 37882492.3526 | 35738200.3327 | 33715283.3327 | 31806871.0686 | 30006482.1402 | 28308002.019 | 26705662.2821 | 25194021.0209 | 23767944.3593 | 22422589.0182 | 21153385.8662 | 19956024.4021
Note on H36: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assumption
Note on N38: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not discounted

## LCOE parameters
| Nuclear EPR, must-run | Nuclear EPR, merit order | Solar, lifetime 40 | Solar, lifetime 25 | Wind, on-shore | Wind-off-shore
LCOE | 91.926 | 199.9517 | 22.3068 | 26.8494 | 22.7568 | 23.2296
LCOE with CO2 tax | 95.318 |  | 28.3674 | 23.7903 | 24.2639
LCOE with system costs | 91.926 |  | 26.8494 | 22.7568 | 23.2296
LCOE with system costs and CO2 tax | 95.318 |  | 28.3674 | 23.7903 | 24.2639
Yearly cost | 6453.2037 | 5803.5967
ASSUMPTIONS PARAMETERS
Decommissioning cost as % of capital cost (nuclear) | 15%
Decommissioning cost as % of capital cost (non-nuclear) | 5%
Learning effect nuclear as % of 2019 costs | 20%
Efficiency increase the amount of uranium required | 0%
Raw uranium price ($/kg) | 135
Efficiency increase in the amount needed for conversion | 0%
Cost reduction conversion | 0%
Efficiency increase in the amount of SWUs (enrichment) | 0%
Cost reduction enrichment | 0%
Cost reduction fuel fabrication | 0%
| Nuclear EPR, must-run | Nuclear EPR, merit order | Solar, lifetime 40 | Solar, lifetime 25 | Wind, on-shore | Wind-off-shore | Hydro (pump) | Batteries | Hydrogen
Technical parameters
Electrical capacity per unit (MWe) | 1600 | 1600 | 20 | 20 | 3 | 3 | 10 | 129 | 10
Full load hours (h/year) | 7800 | 3225 | 875 | 875 | 3000 | 4500 |  |  | 3000
Cost parameters
Capital cost (€/MWe) | 5135208 | 5135208 | 278000 | 278000 | 711000 | 1000000 | 3862600 | 734864 | 1000000
WACC | 0.07 | 0.07 | 0.043 | 0.043 | 0.043 | 0.043 | 0.08 | 0.08 | 0.08
Discount rate | 0.07 | 0.07 | 0.043 | 0.043 | 0.043 | 0.043 | 0.08 | 0.08 | 0.08
Maintenance and operation cost, fixed (€/MWe/year) | 89000 | 89000 | 4170 | 4170 | 17775 | 32000 | 56420 | 9840.46 | 126000
Maintenance and operation cost, variable (€/MWh) | 7.4315 | 7.4315 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel cost (€/MWh electric) | 6.2715 | 6.2715 | 0 | 0 | 0 | 0 | 0
Profile costs (€/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Balancing costs (€/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grid costs (€/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Connection costs (€/MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost of waste processing and storage (€/MWh) | 2.0737 | 2.0737
Decommissioning (€/MWe/year) | 12838.02 | 12838.02 | 347.5 | 556 | 1422 | 2000 | 2414.125 | 3674.32 | 0.066667 | Formula | Check
| 770281.2 | [8 empty] | 6.2715 | 4.9101
Other parameters | 5905489.2 | [8 empty] | 1890 | 1201.5
Construction time per unit (years) | 7 | 7 | 0.5 | 0.5 | 1 | 1.5 | 5 | 0.55 | 1 | 105 | 105
Technical lifetime (years) | 60 | 60 | 40 | 25 | 25 | 25 | 80 | 10 | 25 | 379.6 | 379.6
[10 empty] | 300 | 300
[10 empty] | 1986.1 | 1986.1
| 0.017331 |  | 0.015 | 0.015 | 0.025 | 0.032 |  |  |  | 1767.629 | 1767.629
External parameters
CO2 price (€/ton CO2) | 100 |  | 100 | 100 | 100 | 100
CO2 emissions for general electricity (ton CO2/MWh) | 0.083746
CO2 emissions from the electricity sector 2030 (Mton CO2) | 9.96
Production of the electricity sector 2030 (MWh) | 118930650.7
LC CO2 emissions (ton CO2 eq/MWh) | 0.006 |  | 0.009 | 0.009 | 0.006 | 0.0078
Exchange rate $->€ | 0.89
Note on B27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Average construction cost of Flamanville 3 and Olkiluoto 3.

## Cost types in reports (hidden)
| OECD-NEA, 2019 | [5 empty] | OECD-NEA, 2018 |  |  |  | TNO, 2018 |  |  |  | WNISR, 2019 |  |  |  | Lazard, 2018 |  |  |  | ETM
Technical parameters | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Hydro (pump) | Batteries | OECD-NEA, 2018 | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Hydro (pump) | Batteries | Hydrogen
Electrical capacity per unit
Electrical efficiency
Full load hours
Heat efficiency
Cost parameters
Capital cost (incl. Cost of capital)
Investment cost
Maintenance and operation cost, fixed
Maintenance and operation cost, variable
Fuel cost
System costs (a categories)
Cost of waste processing and storage
Decommissioning
Subsidies and taxes
Other parameters
Land use per unit
Construction time per unit (years)
Technical lifetime (years)
Reference | OECD NEA (2019). The Costs of Dearbonisation: System Costs with High Shares of Nuclear and Renewables. OECD-NEA | [5 empty] | OECD-NEA (2018). The Full Cost of Electricity Provision. |  |  |  | Gamboa Palacios, S. and Jansen J. (2018). Nuclear energy economics: An update to Fact Finding Nuclear Energy. TNO.
URL | https://www.oecd-nea.org/ndd/pubs/2019/7299-system-costs.pdf | [5 empty] | https://www.oecd-nea.org/ndd/pubs/2018/7298-full-costs-2018.pdf |  |  |  | https://publications.tno.nl/publication/34627557/x1eQo8/TNO-2018-P11577.pdf&usg=AOvVaw1Is_fyrrvkeyXKAx-jaX-2 |  |  |  | https://www.worldnuclearreport.org/IMG/pdf/wnisr2019-v2-hr.pdf
Notes | p. 95 cost assumptions

## Costs in reports (hidden)
| OECD-NEA, 2019 | [5 empty] | OECD-NEA, 2018 |  |  |  | TNO, 2018 |  |  |  | WNISR, 2019 |  |  |  | Lazard, 2018 |  |  |  | ETM
Technical parameters | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Hydro (pump) | Batteries | OECD-NEA, 2018 | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Hydro (pump) | Batteries | Hydrogen
Electrical capacity per unit | 1000 MWe | 1 MWe | 50 MWe | 250 MWe | 10 MWe | 10 MWe | 1300 MW (median) | 1 MW (commercial), 200 MW (large) | 20 MW | 223 MW (median) | [8 empty] | 2200 | 100 | 150 | 210-385 MW | 1605 MW | 20 | 3 MW | 3 MW |  | 129 MWh | 10 MW input
Electrical efficiency | 33% |  |  |  |  | 90% | [16 empty] | 36 | 17 | 97 | 97 |  | 85% round trip efficiency | 66%
Full load hours | 8760 | 1314 | 2628 | 3942 | [11 empty] | 26.1 | 37.4 (wind in general) | 37.4 (wind in general) | 90-91% capacity factor | 15-25% capacity factor | 38-55% | 45-55% |  | 867 | 1920 | 3500 |  |  | 1867 for solar PV, 4000 for offshore wind
Heat efficiency
Cost parameters
Capital cost (incl. Cost of capital) | 4700 USD/kW, overnight cost | 1600 | 2000 | 5000 | 4450 | 1146 USD/kWh | 4896 USD7kWe, overnight costs | 1436 USD/kWe, overnight cost, large | 1804 USD/kWe, overnight cost | 4998 USD/kWe | 3600-7200€(2017)/kWe, financing costs 20-29 % of OCC |  |  |  | 150.5 USD/MWh, average based on | 40 | 42.5 |  | 6900-12200 USD/kWe | 900-110 USD/kW | 1100-1500 USD/kW | 2350-3550 USD/kW | 3000000 €/Mwe | 871000 €/MWe | 1391000 €7MWe | 3902000/Mwe |  | 475000 €/MW | 10000000
Investment cost | 7% discount rate | 7% discount rate | 7% discount rate | 7% discount rate | 7% discount rate | 7% discount rate | [16 empty] | 7% WACC | 7% WACC | 7% WACC | 7% WACC |  | 4% WACC | 7% WACC
Maintenance and operation cost, fixed | 100000 USD/MW/year | 36000 | 62000 | 175000 | 65000 | 17190 |  |  |  |  | 0.54-0.95€/kWh fuel costs | [7 empty] | 108.5-133 USD/kW/year | 9-12 USD/kW/year | 28-36.5 USD/kWYear | 80-110 USD/kWYear | 49030 €/Mwe/year | 15900€/Mwe/year | 49190 €/Mwe/year | 142960 €/Mwe/year |  | 4760 €/MW/year | 126000
Maintenance and operation cost, variable | 1.5 USD/MWh | 0 | 0 | 0 | 0 | 0 | [8 empty] | 31.17 | This is the 2018 US average generating cost in USD |  |  | 3.5-4.25 USD/MWh | 0 | 0 | 0 | 6288 €/full load hour | 0 | 0 | 0 |  | 0 | 0
Fuel cost | 10 USD/MWh | 0 | 0 | 0 | 0 | 0 | [12 empty] | 0.85 USD/MMBtu | 0 | 0 | 0
System costs (a categories) | Depends on the level of different sources in the mix | [5 empty] | 3 USD/MWh, at both 10 and 30%, see p. 88 | 27 at 10%, 43 at 30%, see p. 88 | 15 at 10%, 27 at 30%, see p. 88 | 27 at 10%, 34 at 30%, see p. 88
Cost of waste processing and storage | [10 empty] | 0.16-0.3€/kWh |  |  |  | 8.58 USD/MWh, NEA based on South-Korea
Decommissioning | [10 empty] | 0.18 €/kWh |  |  |  | 1.9 (mean) | [7 empty] | 500000 €/Mwe | 0 | 0 | 0
Subsidies and taxes
Other parameters
Land use per unit | [22 empty] | 5 km2 | 0.3 | 0.2 | 0.5 |  | 0 | 0.024
Construction time per unit (years) | 7 | 1 | 1 | 1 | 5 | 1 |  |  |  |  | 7 |  |  |  | 9.8 |  |  |  | 5.75 | 0.75 | 1 | 1 | 5 | 0.5 | 1 | 1.5 |  | 0.1 | 1
Technical lifetime (years) | 60 | 25 | 25 | 25 | 80 | 10 | [8 empty] | 60 |  |  |  | 40 | 30 | 20 | 20 | 60 | 25 | 25 | 20 |  | 10 | 25
Reference | OECD NEA (2019). The Costs of Dearbonisation: System Costs with High Shares of Nuclear and Renewables. OECD-NEA | [5 empty] | OECD-NEA (2018). The Full Cost of Electricity Provision. |  |  |  | Gamboa Palacios, S. and Jansen J. (2018). Nuclear energy economics: An update to Fact Finding Nuclear Energy. TNO.
URL | https://www.oecd-nea.org/ndd/pubs/2019/7299-system-costs.pdf | [5 empty] | https://www.oecd-nea.org/ndd/pubs/2018/7298-full-costs-2018.pdf |  |  |  | https://publications.tno.nl/publication/34627557/x1eQo8/TNO-2018-P11577.pdf&usg=AOvVaw1Is_fyrrvkeyXKAx-jaX-2 |  |  |  | https://www.worldnuclearreport.org/IMG/pdf/wnisr2019-v2-hr.pdf
Notes | p. 95 cost assumptions
LCOE without subsidies
LCOE with CO2 tax
LCOE with system costs
Add decommissioning and waste

## Standardized cost in reports (hidden)
|  | OECD-NEA, 2019 | [5 empty] | OECD-NEA, 2018 |  |  |  | TNO, 2018 |  |  |  | WNISR, 2019 |  |  |  | Lazard, 2018 |  |  |  | ETM
Technical parameters | Penetration rate | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Hydro (pump) | Batteries | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Nuclear | Solar | Wind, on-shore | Wind-off-shore | Hydro (pump) | Batteries | Hydrogen
Electrical capacity per unit (MWe) |  | 1000 | 1 | 50 | 250 | 10 | 10 | 1300 | 200 | 20 | 223 | [8 empty] | 2200 | 100 | 150 | 210-385 MW | 1605 | 20 | 3 | 3 |  | 129 | 10
Electrical efficiency |  | 33% |  |  |  |  | 90% | [16 empty] | 36% | 17% | 97% | 97% |  | 85% | 66%
Full load hours (h) |  | 8760 | 1314 | 2628 | 3942 | [14 empty] | 7927.8 | 1752 | 4073.4 | 4380 |  | 867 | 1920 | 3500 |  |  | 3000
Heat efficiency
5400
Cost parameters
Capital cost (€/MWe) |  | 4079600 | 1388800 | 1736000 | 4340000 | 3862600 | 994728 | 4249728 | 1246448 | 1565872 | 4338264 | 5400000 | [7 empty] | 8289400 | 438340 | 1128400 | 2560600 | 3000000 | 871000 | 1391000 | 3902000 |  | 475000 | 1000000
Investment cost |  | 7% | 7% | 7% | 7% | 7% | 7% | [16 empty] | 7% | 7% | 7% | 7% |  | 4% | 7%
Maintenance and operation cost, fixed (€/MWe/year) |  | 86800 | 31248 | 53816 | 151900 | 56420 | 14920.92 | [12 empty] | 104811 | 7203 | 22123.5 | 82460 | 49030 | 15900 | 49190 | 142960 |  | 4760 | 126000
Maintenance and operation cost, variable (€/full load hour) |  | 1302 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 31.17 | This is the 2018 US average generating cost in USD |  |  | 7399.7 | 0 | 0 | 0 | 6288 €/full load hour | 0 | 0 | 0 |  | 0 | 0
Fuel cost (€/MWh) |  | 8.68 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 7.45 | [7 empty] | 7.2988 |  |  |  |  | 0 | 0 | 0
System costs at 10% penetration rate (€/MWh) | 10% | [6 empty] | 2.604 | 23.436 | 13.02 | 23.436
System costs at 30% penetration rate (€/MWh) | 30% | [6 empty] | 2.604 | 37.324 | 23.436 | 29.512
Cost of waste processing and storage (€/MWh) | [11 empty] | 2.3 |  |  |  | 7.4474
Decommissioning (€/MWh) | [11 empty] | 1.8 |  |  |  | 1.6492 | [7 empty] | 500000 €/Mwe | 0 | 0 | 0
Subsidies and taxes
Other parameters
Land use per unit | [23 empty] | 5 km2 | 0.3 | 0.2 | 0.5 |  | 0 | 0.024
Construction time per unit (years) |  | 7 | 1 | 1 | 1 | 5 | 1 |  |  |  |  | 7 |  |  |  | 9.8 |  |  |  | 5.75 | 0.75 | 1 | 1 | 5 | 0.5 | 1 | 1.5 |  | 0.1 | 1
Technical lifetime (years) |  | 60 | 25 | 25 | 25 | 80 | 10 | [8 empty] | 60 |  |  |  | 40 | 30 | 20 | 20 | 60 | 25 | 25 | 20 |  | 10 | 25
Reference |  | OECD NEA (2019). The Costs of Dearbonisation: System Costs with High Shares of Nuclear and Renewables. OECD-NEA | [5 empty] | OECD-NEA (2018). The Full Cost of Electricity Provision. |  |  |  | Gamboa Palacios, S. and Jansen J. (2018). Nuclear energy economics: An update to Fact Finding Nuclear Energy. TNO.
URL |  | https://www.oecd-nea.org/ndd/pubs/2019/7299-system-costs.pdf | [5 empty] | https://www.oecd-nea.org/ndd/pubs/2018/7298-full-costs-2018.pdf |  |  |  | https://publications.tno.nl/publication/34627557/x1eQo8/TNO-2018-P11577.pdf&usg=AOvVaw1Is_fyrrvkeyXKAx-jaX-2 |  |  |  | https://www.worldnuclearreport.org/IMG/pdf/wnisr2019-v2-hr.pdf |  |  |  | https://www.lazard.com/media/451086/lazards-levelized-cost-of-energy-version-130-vf.pdf
Notes |  | p. 95 cost assumptions
LCOE without subsidies
LCOE with CO2 tax
LCOE with system costs
Add decommissioning and waste

## Assumptions
ASSUMPTIONS MODEL
Technical parameters | Nuclear | Solar | Wind, on-shore | Wind-off-shore
Electrical capacity per unit as a share of the reference | 1 | 1 | 1 | 1
Electrical efficiency as a share of the reference | 1 | 1 | 1 | 1
Full load hours as a share of the reference | 1 | 1 | 1 | 1
Cost parameters
Capital cost as a share of the reference | 1 | 1 | 1 | 1
WACC | 1 | 1 | 1 | 1
Depreciation rate as a share of reference | 1 | 1 | 1 | 1
Maintenance and operation cost, fixed, as a share of reference | 1 | 1 | 1 | 1
Maintenance and operation cost, variable, as a share of reference | 1 | 1 | 1 | 1
Fuel cost as a share of reference | 1 | 1 | 1 | 1
System costs as a share of reference | 1 | 1 | 1 | 1
Cost of waste processing and storage as a share of reference | 1 | 1 | 1 | 1
Decommissioning as a share of reference | 1 | 1 | 1 | 1
External parameters
CO2 price (€/ton CO2) | 120 | 25 2020 | 100 2050
CO2 emissions for general electricity (ton CO2/MWh) | 0.12 | 0.45 2020 | 0.0 2050
Flexibility capacities |  |  |  | 0.5
Batteries (MW) | 150
Hydrogen (MW) | 200
Hydro (pump) (MW) | 100
System costs
Penetration rate of source | 0.1 | 0.3 | 0.3 | 0.3

## System costs (hidden)
| Kosten, standaard(mlrd €) | Kosten, nucleaire (mlrd €) | Kosten, zonder zonne-energie (mlr €) | Kosten, zonder win op land (mlrd €) | Kosten, zonder wind op zee (mlrd €)
LS net | 13.7
LS MS transformator | 3
MS net | 12.8
MS HS transformator | 4.7
HS net | 12.2
Interconnectienet | 3.3
Wind op zee net | 34.4
Totaal | 84